| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| A. Safe Working Practice | A1 | Provide evidence that you are competent with a range of generic skills including mandatory training e.g. infection control and basic life support. |  |  |
|  | A2 | Demonstrates an understanding and application of health & safety and risk management in all aspects of the Clinical Technologists role. |  |  |
|  | A3 | Demonstrates an understanding of, and works within all relevant legislation to their role including departmental local rules. |  |  |
|  | A4 | Perform health & safety risk assessments (including radiation risk assessments for ionising and non-ionising radiation) in accordance with standard operating procedures. |  |  |
|  | A5 | Demonstrates an understanding of radiation incident reporting. |  |  |
|  | A6 | Demonstrates effective communication skills and team working. |  |  |
|  | A7 | Demonstrates a professional approach to all aspects of the Clinical Technologists role. |  |  |
|  | A8 | Observes and assists in a range of procedures within the Radiation Physics discipline e.g. Radiation equipment quality assurance and optimisation, patient dosimetry and personnel monitoring. Adhering to standards of professional practice throughout. |  |  |
|  | A9 | Assists in giving instructions to patients and colleagues regarding radiation hazards, doses and restrictions. |  |  |
|  | A10 | Demonstrates reflective practice as part of the learning process. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| B. Equipment Management | B1 | Assists in the procurement of equipment, accessories or consumables. |  |  |
|  | B2 | Demonstrates the use of an equipment inventory system. |  |  |
|  | B3 | Performs cleaning/decontamination of equipment. |  |  |
|  | B4 | Performs routine equipment quality control checks and review and interpret results. |  |  |
|  | B5 | Performs a range of fault finding and first line user maintenance. |  |  |
|  | B6 | Demonstrates knowledge of radioactive source management, transport and disposal. |  |  |
|  | B7 | Demonstrates an understanding of quality management systems. |  |  |
|  | B8 | Perform equipment life-cycle procedures as an equipment user. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| C. Radiation Transport and Dosimetry | C1 | Performs source checks and completes all relevant paper work prior to transport. |  |  |
|  | C2 | Performs ‘leak’ tests, review results and take appropriate action. |  |  |
|  | C3 | Performs contamination checks and maintain appropriate records. |  |  |
|  | C4 | Assist in the issuing, processing and reporting of personal dosimetry across a range of dosemeters. |  |  |
|  | C5 | Assist with the record keeping associated with personal dosimetry. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| D. Radiation Physics/Protection | D1 | Performs routine QA checks and radiation surveys (including environmental monitoring) on a range of facilities, equipment and associated secondary equipment. |  |  |
|  | D2 | Assists with commissioning and critical examinations on a range of equipment and associated secondary equipment. |  |  |
|  | D3 | Assist with routine testing of radiation protection equipment. |  |  |
|  | D4 | Performs a full range of radiation measurements using appropriate measuring devices. |  |  |
|  | D5 | Perform the calibration of a range of diagnostic and contamination measuring devices in accordance with standard operating procedures. Review and interpret results making appropriate adjustments where necessary produce a range of reports relevant to the activity. |  |  |
|  | D6 | Assist in the provision of personnel dosimetry devices. |  |  |
|  | D7 | Assist in patient dosimetry / dose surveys and dose optimisation for a range of equipment. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| E. Good Scientific Practice | E1 | Adhere to relevant standards of professional practice as defined in Good Scientific Practice. Demonstrate that you have read, understood and comply with this document in all aspects of work. |  |  |

Applicant’s Name (printed):						Applicant’s signature: 						  Date: